## Result sheet
Method name: FT_iLACCO-Uptake (Modified)
Application: SparkControl |  |  |  | V3.1 SP1
Device: Spark |  |  |  | Serial number: 2106004384
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦CELL:V4.1.4¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦GCM:V3.0.2¦INJ:V3.1.1¦PODI:V1.11.2
Date: |  |  |  | 2025-12-16
Time: |  |  |  | 12:48
System |  |  |  | UKSPA-099021
User |  |  |  | UNI-KIEL\hiwibeit
Plate |  |  |  | [GRE96fb_µClear] - Greiner 96 Flat Black Cat. No.: 655090/655096/655097
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Selected
List of actions in this measurement script:
Plate
Shaking
Injector
Shaking
Kinetic
|  | Fluorescence Top Reading |  |  |  | Label 1
Name |  |  |  | GRE96fb_µClear
Plate layout
Plate area |  |  |  | D4-F6
Start Time |  |  |  | 2025-12-16 12:42:23
Shaking (Orbital) Duration [s] |  |  |  | 10
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 2
Shaking (Orbital) Frequency [rpm] |  |  |  | 240
End Time |  |  |  | 2025-12-16 12:42:33
Start Time |  |  |  | 2025-12-16 12:42:33
Injector A
Volume [µl] |  |  |  | 20
Speed [µl/s] |  |  |  | 200
Refill speed [µl/s] |  |  |  | 200
Refill mode |  |  |  | Standard
Part of Plate |  |  |  | D4-F6
End Time |  |  |  | 2025-12-16 12:42:39
Start Time |  |  |  | 2025-12-16 12:42:39
Shaking (Orbital) Duration [s] |  |  |  | 3
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude [mm] |  |  |  | 1
Shaking (Orbital) Frequency [rpm] |  |  |  | 510
End Time |  |  |  | 2025-12-16 12:42:42
Mode | Kinetic
Kinetic duration [hhmmss] |  |  |  | 00:06:00
Interval time [ms] |  |  |  | 4500
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 484
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 20
Gain Manual |  |  |  | 100
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 10
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 16000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | D4-F6
Start Time |  |  |  | 2025-12-16 12:42:46
Label 1
Cycle Nr. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80
Time [s] | 0 | 4.51 | 9.025 | 13.538 | 18.059 | 22.576 | 27.097 | 31.613 | 36.125 | 40.642 | 45.151 | 49.66 | 54.168 | 58.679 | 63.196 | 67.714 | 72.22 | 76.727 | 81.235 | 85.753 | 90.261 | 94.766 | 99.273 | 103.792 | 108.312 | 112.834 | 117.355 | 121.87 | 126.378 | 130.887 | 135.406 | 139.915 | 144.423 | 148.935 | 153.449 | 157.963 | 162.478 | 166.989 | 171.496 | 176.009 | 180.524 | 185.035 | 189.548 | 194.057 | 198.565 | 203.07 | 207.58 | 212.09 | 216.599 | 221.118 | 225.633 | 230.147 | 234.664 | 239.182 | 243.695 | 248.208 | 252.727 | 257.242 | 261.75 | 266.256 | 270.769 | 275.283 | 279.811 | 284.316 | 288.837 | 293.345 | 297.852 | 302.36 | 306.874 | 311.391 | 315.905 | 320.422 | 324.93 | 329.439 | 333.951 | 338.464 | 342.978 | 347.488 | 351.999 | 356.504
Temp. [°C] | 23.6 | 23.6 | 23.6 | 23.6 | 23.7 | 23.7 | 23.7 | 23.7 | 23.7 | 23.6 | 23.7 | 23.6 | 23.6 | 23.6 | 23.6 | 23.6 | 23.6 | 23.6 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.5 | 23.5 | 23.5 | 23.4 | 23.5 | 23.5 | 23.5 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.4 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5 | 23.5
A1
A2
A3
A4
A5
A6
A7
A8
A9
A10
A11
A12
B1
B2
B3
B4
B5
B6
B7
B8
B9
B10
B11
B12
C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12
D1
D2
D3
i1.0+CCCP | 7786 | 8041 | 8479 | 8421 | 8611 | 8727 | 8830 | 8856 | 8974 | 8984 | 8989 | 8965 | 9016 | 9118 | 8984 | 9157 | 9191 | 9105 | 9097 | 9065 | 9283 | 9113 | 9240 | 9225 | 9218 | 9242 | 9210 | 9162 | 9270 | 9239 | 9262 | 9252 | 9217 | 9259 | 9232 | 9254 | 9157 | 9179 | 9225 | 9367 | 9350 | 9369 | 9271 | 9290 | 9359 | 9322 | 9353 | 9307 | 9310 | 9390 | 9349 | 9409 | 9443 | 9374 | 9285 | 9329 | 9298 | 9232 | 9311 | 9247 | 9396 | 9275 | 9339 | 9200 | 9267 | 9269 | 9265 | 9283 | 9135 | 9231 | 9167 | 9221 | 9185 | 9102 | 9149 | 9100 | 9159 | 9147 | 9136 | 9117
D5 | 8451 | 8776 | 9084 | 9176 | 9346 | 9526 | 9447 | 9628 | 9604 | 9687 | 9744 | 9728 | 9791 | 9696 | 9659 | 9731 | 9811 | 9817 | 9815 | 9789 | 9971 | 9968 | 10023 | 9897 | 9804 | 9784 | 9787 | 9777 | 9850 | 9800 | 9861 | 9884 | 9773 | 9911 | 9887 | 9881 | 9898 | 9940 | 9895 | 9850 | 9925 | 9953 | 9920 | 9948 | 9895 | 9899 | 9870 | 9992 | 10017 | 9882 | 9965 | 9930 | 9986 | 9896 | 9909 | 9890 | 9885 | 9878 | 9947 | 9971 | 9868 | 9878 | 9791 | 9804 | 9670 | 9859 | 9757 | 9849 | 9834 | 9813 | 9829 | 9706 | 9760 | 9605 | 9656 | 9661 | 9585 | 9653 | 9617 | 9619
D6 | 8908 | 9286 | 9614 | 9838 | 9855 | 10053 | 10162 | 10175 | 10201 | 10238 | 10270 | 10283 | 10293 | 10260 | 10337 | 10307 | 10288 | 10210 | 10364 | 10356 | 10286 | 10314 | 10353 | 10237 | 10326 | 10353 | 10257 | 10391 | 10384 | 10265 | 10294 | 10248 | 10289 | 10252 | 10284 | 10288 | 10222 | 10172 | 10198 | 10234 | 10311 | 10216 | 10308 | 10214 | 10188 | 10199 | 10182 | 10152 | 10116 | 10070 | 9997 | 10152 | 10169 | 10007 | 10100 | 10047 | 10141 | 10186 | 10101 | 10083 | 10067 | 9960 | 10062 | 10144 | 9944 | 9909 | 9997 | 9971 | 9852 | 9817 | 9940 | 9845 | 9889 | 9925 | 9798 | 9788 | 9755 | 9745 | 9709 | 9794
D7
D8
D9
D10
D11
D12
E1
E2
E3
i1.1+CCCP | 9319 | 9717 | 10236 | 10634 | 10796 | 10883 | 11041 | 11208 | 11268 | 11353 | 11437 | 11475 | 11521 | 11478 | 11446 | 11659 | 11601 | 11687 | 11567 | 11679 | 11573 | 11627 | 11538 | 11586 | 11599 | 11643 | 11637 | 11633 | 11624 | 11523 | 11700 | 11582 | 11460 | 11520 | 11586 | 11512 | 11555 | 11440 | 11441 | 11417 | 11437 | 11395 | 11467 | 11459 | 11394 | 11347 | 11343 | 11433 | 11395 | 11380 | 11305 | 11399 | 11204 | 11292 | 11317 | 11248 | 11312 | 11346 | 11272 | 11210 | 11257 | 11303 | 11203 | 11034 | 11082 | 11144 | 11204 | 11116 | 11072 | 11039 | 11114 | 11109 | 11133 | 11239 | 11062 | 11075 | 10910 | 10831 | 10890 | 10936
E5 | 9673 | 10314 | 10768 | 11218 | 11393 | 11602 | 11787 | 11869 | 12148 | 12151 | 12176 | 12219 | 12189 | 12236 | 12325 | 12310 | 12381 | 12410 | 12453 | 12456 | 12478 | 12430 | 12487 | 12414 | 12416 | 12377 | 12371 | 12409 | 12413 | 12406 | 12361 | 12457 | 12245 | 12320 | 12310 | 12250 | 12252 | 12203 | 12124 | 12352 | 12270 | 12253 | 12185 | 12129 | 12140 | 12143 | 12156 | 12180 | 12133 | 12087 | 11996 | 12070 | 11976 | 12023 | 12028 | 12084 | 11917 | 11975 | 11965 | 11840 | 11938 | 11787 | 11882 | 11741 | 11954 | 11842 | 11815 | 11766 | 11737 | 11771 | 11790 | 11662 | 11685 | 11509 | 11558 | 11630 | 11692 | 11665 | 11706 | 11634
E6 | 9922 | 10551 | 11070 | 11355 | 11695 | 11900 | 12097 | 12183 | 12312 | 12377 | 12444 | 12486 | 12368 | 12506 | 12629 | 12540 | 12436 | 12574 | 12536 | 12557 | 12576 | 12614 | 12625 | 12427 | 12507 | 12662 | 12594 | 12486 | 12488 | 12466 | 12446 | 12498 | 12463 | 12339 | 12405 | 12412 | 12243 | 12391 | 12327 | 12357 | 12292 | 12389 | 12394 | 12335 | 12310 | 12355 | 12085 | 12301 | 12179 | 12214 | 12249 | 12131 | 12208 | 12096 | 12091 | 12096 | 12029 | 12083 | 12085 | 11902 | 11936 | 11958 | 11934 | 11827 | 11860 | 11866 | 11820 | 11790 | 11850 | 11961 | 11726 | 11841 | 11689 | 11711 | 11711 | 11615 | 11642 | 11446 | 11559 | 11610
E7
E8
E9
E10
E11
E12
F1
F2
F3
i1.2+CCCP | 8524 | 8908 | 9493 | 9619 | 9799 | 9956 | 10147 | 10183 | 10295 | 10362 | 10393 | 10516 | 10587 | 10665 | 10590 | 10536 | 10467 | 10629 | 10622 | 10658 | 10487 | 10502 | 10466 | 10428 | 10541 | 10505 | 10426 | 10431 | 10363 | 10452 | 10394 | 10400 | 10440 | 10373 | 10345 | 10363 | 10273 | 10370 | 10371 | 10212 | 10355 | 10267 | 10112 | 10286 | 10326 | 10293 | 10181 | 10314 | 10235 | 10225 | 10263 | 10255 | 10174 | 10229 | 10229 | 10078 | 10036 | 9936 | 10021 | 10044 | 10055 | 9985 | 9938 | 9854 | 9931 | 9907 | 9889 | 9826 | 9996 | 9809 | 9809 | 9800 | 9780 | 9679 | 9726 | 9694 | 9681 | 9750 | 9529 | 9639
F5 | 8199 | 8659 | 9183 | 9502 | 9677 | 9768 | 9946 | 10054 | 10190 | 10122 | 10369 | 10304 | 10344 | 10390 | 10343 | 10446 | 10414 | 10625 | 10410 | 10449 | 10515 | 10415 | 10549 | 10613 | 10510 | 10398 | 10554 | 10457 | 10492 | 10572 | 10430 | 10539 | 10444 | 10372 | 10415 | 10361 | 10342 | 10284 | 10440 | 10377 | 10344 | 10273 | 10160 | 10174 | 10279 | 10318 | 10268 | 10254 | 10264 | 10212 | 10227 | 10120 | 10174 | 10120 | 10128 | 10040 | 10006 | 9929 | 10066 | 9998 | 9937 | 9945 | 9909 | 9918 | 9851 | 9895 | 9824 | 9810 | 9665 | 9837 | 9739 | 9761 | 9815 | 9702 | 9655 | 9671 | 9616 | 9701 | 9706 | 9695
F6 | 8387 | 8953 | 9384 | 9818 | 9912 | 10035 | 10326 | 10459 | 10450 | 10633 | 10797 | 10666 | 10699 | 10777 | 10768 | 10733 | 10788 | 10817 | 10792 | 10809 | 10802 | 10723 | 10847 | 10878 | 10821 | 10867 | 10869 | 10930 | 10848 | 10678 | 10755 | 10808 | 10699 | 10716 | 10690 | 10723 | 10733 | 10709 | 10679 | 10665 | 10745 | 10680 | 10699 | 10675 | 10673 | 10585 | 10592 | 10569 | 10625 | 10659 | 10497 | 10545 | 10646 | 10555 | 10365 | 10410 | 10531 | 10325 | 10381 | 10318 | 10417 | 10342 | 10329 | 10407 | 10350 | 10381 | 10113 | 10271 | 10116 | 10089 | 10155 | 10214 | 10117 | 10071 | 10107 | 10054 | 9995 | 10085 | 10053 | 10109
F7
F8
F9
F10
F11
F12
G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12
End Time |  |  |  | 2025-12-16 12:48:46